| INPUT CONTRIBUTION |
| --- |
| Group Name:* | WG1 |
| Source:* | Huawei Technologies UK (ETSI) Huawei Technologies Co.,Ltd (CCSA) NEC Europe Ltd. (ETSI) |
| Format:* | MS Word |
| Date:* | 2013-2-6 |
| Contact:* | Jiaxin Yin, yinjiaxin@huawei.com |
| Abstract:* | The document illustrated a use case about smart building. |
| Agenda Item:* | Use Cases |
| Work item(s): | WI 0001 |
| Document(s) Impacted* | Technical Report - oneM2M use case collection |
| Intended purpose of document:* | Decision Discussion Information Other <specify> |
| Decision requested or recommendation:* | Integrate the use case to the use case TR if approved. |

oneM2M IPR STATEMENT

“Participation in, or attendance at, any activity of oneM2M, constitutes acceptance of an agreement to be bound by all provisions of IPR policy of the admitting Partner Type 1 and permission that all communications and statements, oral or written, or other information disclosed or presented, and any translation or derivative thereof, may without compensation, and to the extent such participant or attendee may legally and freely grant such copyright rights, be distributed, published, and posted on oneM2M’s web site, in whole or in part, on a non-exclusive basis by oneM2M or oneM2M Partners Type 1 or their licensees or assignees, or as oneM2M SC directs.

# Smart Building

## Description

Smart building is a M2M service that utilizes a collection of sensors, controllers, alerter, gateways deployed at the correct places in the building combined with applications and server resides on the Internet to enable the automatic management of the building with just limited human labour. Smart building system can greatly reduce the cost involved in managing the building like energy consumption, labour cost. With the smart building system, services like video monitor, light control, air-condition control and power supply can all be managed at the control centre. Some services can be triggered automatically to save the precious time in case of fire, intruder, gas leak etc.

## Source

Source:  Huawei Technologies UK (ETSI)

Huawei Technologies Co.,Ltd (CCSA)

NEC Europe Ltd. (ETSI)

Contact: Jiaxin Yin, yinjiaxin@huawei.com

## Actors

M2M Service Provider: A company that provides M2M service including entities like gateway, platform and enables the communication between them. The M2M Service Provider also exposes APIs for the development of all kinds of applications. The gateway provided by the Service Provider can be used to connect to different devices such as sensors, controllers.

Control Centre: The manage centre of the building, all data collected by the sensor is reported to the Control Centre and all commands are sent from the Control Centre. The Control Centre is in charge of the controlling of the equipments deployed around the building.

Smart Building Service Provider: A company that provides smart building services. A Smart Building Service Provider is a professional in the area. It is in charge of install the device all around the building, set up the Control Centre and provide the application that is used to manage the Control Centre and necessary training to workers in the Control Centre on how to manage the system. The Smart Building Service Provider has a business contract with the M2M Service Provider in utilizing the communication, gateway, M2M platform and APIs provided by the M2M Service Provider.

## Pre-conditions

The Smart Building Service Provider establishes a business relationship with the M2M Service Provider in using the gateway, M2M platform and APIs.

The Smart Building Service Provider installs all the sensors, controllers, alerter in and around the building and sets up the Control Centre in the building with the application to run the system.

The Control Centre belongs to an estate management company and takes charge of several buildings all over the city. The building in the use case is one of them.

## Triggers

## Normal Flow

### The light control of the building

The Control Centre needs to control the light in the building by different areas and different floors. The Control Centre also needs to switch on and off all the light in the building. For the management of the lights, the Smart Building Service Provider deployed one gateway in each floor to get connection with the lights in the same floor. Each floor of the building has at least 100 lights and the building has 50 floors above the ground and 5 floors under the ground and each light can be switched separately. The lights in every floor is connected with the gateway using local WIFI network, the gateway is connected with the M2M platform using paid 3GPP network, the Control Centre is connect with the M2M platform using fixed network. A patrolling worker with a mobile device can access to the gateway’s local network to switch the lights. The illustration can be seen from figure 1.

In order to switch the light from the whole floor, instead of sending request from the Control Centre 100 times, the Control Centre creates a group on the gateway of each floor to include all the light on that floor. As a result, the Control Centre could switch the light of a whole floor just by sending one request to the group created on the gateway, the gateway fans out the request to each light to switch them off.

In order to switch the light of the building, instead of sending request from the Control Centre 5500 times, the Control Centre could create a group on the M2M platform to include all the groups created on each gateway on each floor. In this way, the Control Centre simply send one request to the group on the M2M platform, the group fans out the request to the group on every gateway, the group on the gateway fans out the request to each lights to switch it.

The maintenance of the member of the group is the duty of a worker with a mobile device. Whenever a new light is installed, the worker add the light to the group of the corresponding floor. Whenever a broken light is removed, the worker with the mobile device first searches the light from the group and removes the light from the group.

The Control Centre creates the group in the purpose of controlling the lights, so the group is configured to accept lights only in case the group may cause unexpected result on other devices introduced to the group by mistake. For example, if the type of the group is configured as “light”, then “wash machine” cannot be a member of the group. Because the commands to wash machine is much more complicated. If a wash machine is added to the group of lights by mistake, it may cause unexpected behavior to the wash machine.

The add and remove of the members of the group of each floor is not necessary to be known to the Control Centre, but the Control Centre do know how to switch off the lights from the whole floor. In this way the Control Centre is exempt from the trivial task of maintaining each single light. However in the mean time, the administrator of the Control Centre can always make a list of all the lights and view their status from the Control Centre by retrieving from the group.

### Intruder

With the deployment of smart building system, the number of patrollers is greatly reduced. For the security reason, a number of motion detector and cameras are installed all over the building.

The motion detector and the cameras are configured to work together. During the period when certain floor of the building is in safe mode, whenever the motion detector detects a moving object, the camera captures a picture of the moving object immediately. The picture is sent to the Control Centre for the inspector to verify if it is a intruder or an automated image recognition system. As a result of fast reaction, the motion detector must trigger the photo shot as soon as possible.

If the inspector sitting in the Control Centre finds that the object captured in the photo is a dog or a cat, he could just ignore the picture. If the figure caught in the picture is a stranger with some professional tools to break into a room. The inspector could send out a security team as soon as possible to the location based on the location reported from the motion detector.

### Fire alarm

In case of a emergency, the residents of the building need to be evacuated immediately. All the devices related to a fire alarm need to be triggered almost at the same time. Whenever the fire sensor detects a fire in the building, a group of devices associated with the fire detection shall be turned on simultaneously such as the siren, the evacuation guide light, start the water pouring system, stop the elevator, cut off the electricity at certain areas, send message to the hospital, call the fireman, in a way not interrupting each other. Due to the possible latency and unavailability on the network to the Control Centre, the trigger of the devices on one floor is configured in the gateway.

If only one fire sensor in one room of the building detects a fire with a range less than one square meter, siren and water pouring system in the room would be switched on to alarm the resident to put out the fire. If lots of fire sensors all detects fire together with smoke sensors, temperature sensors reporting unusual situations, the whole fire alarm system will be triggered and all the residents in the building will be evacuated. If in the mean time of a fire alarm, the sensors detect that the temperature is below the threshold which means the fire is under control, the alarm can be canceled automatically to all sirens and actuators to avoid the panic.

With the configuration on the gateway, the trigger of the devices can be very fast so that the damage caused by the fire can be limited to its minimum.

## Post-conditions

## High Level Illustration

## Figure 1

## Potential requirements

The M2M system shall harmonize a series of actions among a group of devices, in a way not interrupting each other.

The M2M system shall harmonize a series of actions based on certain conditions.

The M2M system shall support the devices to report their locations.

The M2M system shall support a mechanism to group a collection of devices together.

The M2M system shall support that same operations can be dispatched to each device via group.

The M2M system shall support the members’ management in a group i.e. add, remove, retrieve and update.

The M2M system shall support that the group can check if its member devices are of one type.

The M2M system shall support the group to include another group as a member.

# Text boxes

Control Centre

M2M Platform

Gateway

Building

Light * 100