| Input contribution Requirements |
| --- |
| Use Case Title:* | Requirements for M2M-based Remote Pulse Monitoring System |
| Group Name:* | WG1 |
| Source:* | ETRI, KCA, AXSTONE (TTA) |
| Contact: | Jae young Ahn (ETRI), ahnjy@etri.re.kr Jung Soo Park (ETRI), pjs@etri.re.kr Sung Hyup Lee (KCA), shlee@kca.kr DongSu Lee, AXSTONE (TTA), dslee@axstone.com |
| Date:* | 2013-02-18 |
| Abstract:* | This is the reproduction of oneM2M-REQ-213, which has proposed the requirements of M2M-based remote pulse monitoring system. It corresponds to the oneM2M pool spec WIP item of TTA, for “consortium draft 1.1” |
| Agenda Item:* |  |
| Work item(s): |  |
| Document(s) Impacted* |  |
| Intended purpose of document:* | Decision Discussion Information Other <specify> |
| Decision requested or recommendation:* |  |

oneM2M IPR STATEMENT

“Participation in, or attendance at, any activity of oneM2M, constitutes acceptance of an agreement to be bound by all provisions of IPR policy of the admitting Partner Type 1 and permission that all communications and statements, oral or written, or other information disclosed or presented, and any translation or derivative thereof, may without compensation, and to the extent such participant or attendee may legally and freely grant such copyright rights, be distributed, published, and posted on oneM2M’s web site, in whole or in part, on a non-exclusive basis by oneM2M or oneM2M Partners Type 1 or their licensees or assignees, or as oneM2M SC directs.

1.0 Introduction

This document describes the requirements of M2M-based remote pulse monitoring system which measures the status of the patients in real-time, transmits the measured data to the server in the centre, and categorizes the patients status, so that the clinicians or care coordinators can determine appropriate clinical actions and manage the patient care.

2.0 Constitution and Scope

In order to introduce the requirements of M2M-based remote pulse monitoring system, this document describes system overview in section 4.0, and service scenarios in section5.0. Based on the descriptions, the requirements of remote pulse monitoring system are proposed.

3.0 Terms and Abbreviations

N/A.

4.0 Overview of M2M-based Remote Pulse Monitoring

The pulse status of a patient varies. However, patients are hardly to fall into a critical condition in daytime since clinicians and care-coordinators care the patients at constant monitoring and the patients are self-conscious at then.

But in the night time, patients are usually managed by the minimum number of staffs, and clinicians can hardly monitor all the patients in real time, especially when the patients are sleeping.

Remote pulse monitoring system checks the physical status of the patients in real time and analyzes it by the systematic decision process, which enables the effective management for the patients with the minimal human resources and costs.

4.1. Service architecture

(Fig.4-1) shows the general architecture of M2M-based remote pulse monitoring service.

(Fig. 4-1) Architecture of M2M-based remote pulse monitoring system

4.2. Device domain

Device domain consists of Pulsimeter and M2M Gateway connected through M2M Area Network based on WPAN  technologies such as Zigbee or Bluetooth.

M2M Gateway has the communication modules to connect with Pulsimeter and wireline/wireless network.

4.3. Network domain

Network domain provides the communication  networks such as CDMA, WCDMA, LTE, and wireline networks.

4.3. Service domain

Service domain consists of pulse monitoring server and the receiver which the clinicians or care assistants constantly carry at working time.

Pulse monitoring server collects the measured data of the patients and analyzes them, to decide the evocation of any action corresponding it. In case of a certain state, the server transmits the message to clinicians or care coordinators.

Receivers can be various types of devices, such as mobile phone, tablet PC, and dedicated alarm receiver, etc. which can receive the message or the event data from the server.

(Fig.4-2) Display screen of the pulse monitoring system

4.4. User domain

User domain includes the clinician and care coordinator, and/or the family of the patient. The clinicians are physicians, nurses, nurse practitioners, physician assistants, psychologists, and other clinical personnel. They clinically examine the patient, manage the pulse monitoring server and check the alarm devices for medical care. The care coordinator is an individual or an application under clinical supervision that monitors the information received from the patient’s device(s).

(Fig.4-2) shows the screen of the pulse monitoring server which manages the patient’s status based on the information from the pulsimeter.

5. Service Scenarios

5.1. Initialization

At the initialization stage, the remote monitoring device is prepared for the usage for the patient or clinician. This may involve to physical attachment /placing/ registration of the device and to establish the communications of M2M application and the device.

For example, there are pairing process between pulsimeter and M2M Gateway, the verification for the battery state of the pulsimeter, and the server registration for the monitoring device. The initialization may require authentication and device state verification by the M2M service capability provider and/or the M2M application entity.

5.2. Measurement of patients’ condition

Remote monitoring device gathers data on the patient measurements, and certain  events. Those are transferred to the server periodically and/or upon request. M2M Gateway aggregates the data from multiple pulsimeters to transmits it to Pulse monitoring server.

5.3. Remote configuration

Pulsimeter or remote monitoring device can be configured by pulse monitoring server remotely via M2M network. The configuration capability could span simple parametric changes, such as, reporting rates, event or alarm trigger levels, and dosing levels to downloading and securely restarting new operating software.

5.4. Setting pulse status level

Pulse monitoring server analyzes the pulse information of the patient and decides the patient situation. For example, the server categorizes the measured pulse data and decides the status of the patient as the following table.

(Table 5-1) Categorization of the measured pulse data

(unit: number/min.)

| Status | Bradycardia | Normal | Tachycardia |
| --- | --- | --- | --- |
| Level | Critical | Major | N/A | Major | Critical |
| No. of pulse | ~5 | 6~59 | 60~100 | 101~199 | 200~ |

5.5. Pre-setting of the alarm level

Pulse monitoring server sets the different alarm levels according to the category of the pulse counts, and then generates the event signal as the alarm level in order to send it to the receiver. For example, the server sets the activities such as for the following descriptions.

1) Normal : None of signal is occurred.

2) Bradycardia & Tachycardia

	Critical:

-	Critical sign popup on screen

-	High and speedy alarm sound

-	Message transmit to registered clinicians

-	Message transmit to caregivers (option)

	Major:

-	Major sign popup on screen

-	Low and slow alarm sound

-	Message transmit to registered clinicians

6. Requirements for Remote Pulse Monitoring Service

6.1. Requirements for pulsimeter

Pulsimeter may need the following requirements.

- Measurement rate & Transmission rate control

- It is for the optimized link control capability for the various transmission rate of communication

- Device management for a kind of application specific control

- Signals generation for wearing/unwearing by patient

- Signal generation for battery status

- Signals generation for Normal/Abnormal operation

- Others for device design

- Minimal power consumption

- Material to avoid skin trouble of the patient

- Design for easy control to wear/unwear condition

- Convenient user interface for patient and care coordinator

6.2. Requirements for pulsimeter Pulse monitoring server

Pulse monitoring server may need the following requirements.

- Alarm signal control (activation/deactivation) by service layer or by operator

- Support for location recognition of the patient by means of service capability

- Handling event popup and alarm signal transmission to pre-assigned receiver

- Maintenance function for message receiver of the clinician and caregiver

- Support for inter-working with SMS (Short Message System) center in outside

- Support for remote login from the authorized users (clinicians or others) in outside by their PC or smart phone.

- Systematic logging function for measured data, including event generation/clear time and pulse data

- open API to support interconnection with the other systems

- Setup function for patient data including max/min pulse and personal information

- Maintenance function for personal data

- Setup function for pulsimeter device including serial number and MAC address

- Categorization for alarm signals subject to event such as pulse event, battery issue, communication error, etc.

- Categorization for alarm signals subject to pulse data level