	Doc#  MAS-2018-0092-Smart_City_model_water_quality_monitor .doc
Change Request
	[image: image1.png]






	


	CHANGE REQUEST

	Meeting ID:*
	MAS #36

	Source:*
	Hongna Chang, HUAWEI, changhongna@huawei.com
Yongjing Zhang, HUAWEI,  zhangyongjing@huawei.com

	Date:*
	2018-7-3

	Reason for Change/s:*
	Adding the information model of water quality monitor devices for the smart city domain.

	CR  against:  Release*
	Release 4

	CR  against:  WI*
	 FORMCHECKBOX 
 Active WI-0084 

 FORMCHECKBOX 
 MNT maintenance / < Work Item number(optional)>
Is this a mirror CR? Yes  FORMCHECKBOX 
 No  FORMCHECKBOX 

mirror CR number: (Note to Rapporteur - use latest agreed revision)
 FORMCHECKBOX 
 STE Small Technical Enhancements / < Work Item number (optional)>
Only ONE of the above shall be ticked

	CR  against:  TS/TR*
	TS-0023   V4.0.0

	Clauses *
	5.3, 5.5

	Type of change: *
	 FORMCHECKBOX 
 Editorial change
 FORMCHECKBOX 
 Bug Fix or Correction
 Change to existing feature or functionality
 FORMCHECKBOX 
 New feature or functionality
Only ONE of the above shall be ticked

	Impacted other TS/TR(s)
	NA

	Post Freeze checking:*
	This CR contains only essential changes and corrections?  YES  FORMCHECKBOX 
  NO  FORMCHECKBOX 

This CR may break backwards compatibility with the last approved version of the TS?       YES 
  NO 


	Template Version: January 2017 (Do not modify)


oneM2M Notice

The document to which this cover statement is attached is submitted to oneM2M.  Participation in, or attendance at, any activity of oneM2M, constitutes acceptance of and agreement to be bound by terms of the Working Procedures and the Partnership Agreement, including the Intellectual Property Rights (IPR) Principles Governing oneM2M Work found in Annex 1 of the Partnership Agreement.

GUIDELINES for Change Requests:

Provide an informative introduction containing the problem(s) being solved, and a summary list of proposals.

Each CR should contain changes related to only one particular issue/problem.
In case of a correction, and the change apply to previous releases, a separate “mirror CR” should be posted at the same time of this CR
Mirror CR: applies only when the text, including clause numbering are exactly the same.

Companion CR: applies when the change means the same but the baselines differ in some way (e.g. clause number).
Follow the principle of completeness, where all changes related to the issue or problem within a deliverable are simultaneously proposed to be made E.g. A change impacting 5 tables should not only include a proposal to change only 3 tables. Includes any changes to references, definitions, and acronyms in the same deliverable.
Follow the drafting rules.
All pictures must be editable.
Check spelling and grammar to the extent practicable.
Use Change bars for modifications.
The change should include the current and surrounding clauses to clearly show where a change is located and to provide technical context of the proposed change. Additions of complete clauses need not show surrounding clauses as long as the proposed clause number clearly shows where the new clause is proposed to be located.
Multiple changes in a single CR shall be clearly separated by horizontal lines with embedded text such as, start of change 1, end of change 1, start of new clause, end of new clause.
When subsequent changes are made to content of a CR, then the accepted version should not show changes over changes. The accepted version of the CR should only show changes relative to the baseline approved text. 
Introduction
This contribution proposes to add some module classes and  a device model of water quality monitor device for smart city.

-----------------------Start of change 1-------------------------------------------

5.5.2.x
deviceWaterQualityMonitor
An water quality monitor is an environmental monitoring device used to monitor water quality.

Table 5.5.2.x‑1: Modules of deviceWaterQualityMonitor Device model
	Module Instance Name
	Module Class Name
	Optional
	Description

	battery
	battery
	true
	See clause 5.3.1.10.

	connectivity
	connectivity
	true
	See clause 5.3.1.xx.

	periodicalReportConfig
	periodicalReportConfig
	true
	See clause 5.3.1.xx.

	waterQualityMonitor
	waterQualityMonitor
	false
	See clause 5.3.2.xx.


-----------------------End of change 1---------------------------------------------

-----------------------Start of change 2-------------------------------------------

5.3.2.xx waterQualityMonitor
This ModuleClass provides the information of water quality detection.
Table 5.3.2.xx‑1: DataPoints of waterQualityMonitor ModuleClass
	Name
	Type
	R/W
	Optional
	Unit
	Documentation

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	algae
	xs:float
	R
	true
	milligram per liter
	Blue-green algae

	anionics
	xs:float
	R
	true
	milligram per liter
	An-ionic surfactant

	ArOH
	xs:float
	R
	true
	milligram per liter
	Volatile phenol

	As
	xs:float
	R
	true
	milligram per liter
	Arsenic

	biotoxicity
	xs:float
	R
	true
	milligram per liter
	Biological toxicity

	BOD
	xs:float
	R
	true
	milligram per liter
	Biochemical oxygen demand (BOD) is the amount of dissolved oxygen consumed during the biochemical reaction of biodegradable organic matter that is decomposed by microorganisms in water under certain conditions.

	COD
	xs:float
	R
	true
	milligram per liter
	Chemical oxygen demand (COD) is the amount of reducing substance that needs to be oxidized in a water sample.

	conductivity
	xs:float
	R
	true
	milligram per liter
	Conductivity is a parameter used to describe the ease of charge flow in a substance.

	Cu
	xs:float
	R
	true
	milligram per liter
	Cuprum

	Cd
	xs:float
	R
	true
	milligram per liter
	Cadmium

	chlorophyll_a
	xs:float
	R
	true
	milligram per liter
	Chlorophyll a

	CN
	xs:float
	R
	true
	milligram per liter
	Cyanide

	Cr6
	xs:float
	R
	true
	milligram per liter
	Hexavalent chromium

	DO
	xs:float
	R
	true
	milligram per liter
	Dissolved oxygen. Molecular oxygen in the air dissolved in water is called dissolved oxygen

	F
	xs:float
	R
	true
	milligram per liter
	Fluoride

	Fe
	xs:float
	R
	true
	milligram per liter
	Total iron

	FTU
	xs:float
	R
	true
	milligram per liter
	Turbidity which refers to degree of hindrance of the solution as the light passes through it.

	
	
	
	true
	
	

	
	
	
	true
	
	

	
	
	
	true
	
	

	Hg
	xs:float
	R
	true
	milligram per liter
	Mercury

	KMnO4
	xs:float
	R
	true
	milligram per liter
	Permanganate index which refers to the amount of oxidant consumed in the water samples using potassium permanganate as an oxidant in an acidic or alkaline medium.

	NH3NH4
	xs:float
	R
	true
	milligram per liter
	Ammonia nitrogen is the nitrogen in the form of free ammonia (NH3) and ammonium ions (NH4+) in water.

	
	
	
	true
	
	

	
	
	
	true
	
	

	
	
	
	true
	
	

	
	
	
	true
	
	

	
	
	
	true
	
	

	
	
	
	true
	
	

	
	
	
	true
	
	

	
	
	
	true
	
	

	
	
	
	true
	
	

	
	
	
	true
	
	

	NO3N
	xs:float
	R
	true
	milligram per liter
	Nitrate nitrogen

	Oil
	xs:float
	R
	true
	milligram per liter
	Petroleum pollutants

	Pb
	xs:float
	R
	true
	milligram per liter
	Lead

	
	
	
	true
	
	

	PH
	xs:float
	R
	true
	milligram per liter
	Potential Of Hydrogen

	sulfide
	xs:float
	R
	true
	milligram per liter
	Sulfide

	temperature
	xs:float
	R
	true
	milligram per liter
	Water temperature

	TN
	xs:float
	R
	true
	milligram per liter
	Total nitrogen which is defined as the total amount of various forms of inorganic and organic nitrogen in water.

	TP
	xs:float
	R
	true
	milligram per liter
	Total phosphorus which is the result of the conversion of various forms of phosphorus into orthophosphate after digestion of the water sample, measured in milligrams of phosphorus per liter of water sample.

	
	
	
	true
	
	

	
	
	
	true
	
	

	
	
	
	true
	
	

	
	
	
	true
	
	

	
	
	
	true
	
	

	
	
	
	true
	
	

	
	
	
	true
	
	

	Zn
	xs:float
	R
	true
	milligram per liter
	Zinc

	
	
	
	
	
	

	
	
	
	
	
	


-----------------------End of change 2---------------------------------------------

CHECK LIST

· Does this Change Request include an informative introduction containing the problem(s) being solved, and a summary list of proposals.?
· Does this CR contain changes related to only one particular issue/problem?
· Have any mirror CRs been posted?
· Does this Change Request  make all the changes necessary to address the issue or problem?  E.g. A change impacting 5 tables should not include a proposal to change only 3 tables?Does this Change Request follow the drafting rules?
· Are all pictures editable?
· Have you checked the spelling and grammar?
· Have you used change bars for all modifications?
· Does the change include the current and surrounding clauses to clearly show where a change is located and to provide technical context of the proposed change? (Additions of complete clauses need not show surrounding clauses as long as the proposed clause number clearly shows where the new clause is proposed to be located.)
· Are multiple changes in this CR clearly separated by horizontal lines with embedded text such as, start of change 1, end of change 1, start of new clause, end of new clause.?
© 2018 oneM2M Partners
                                                                                                   Page 5 (of 6)



[image: image1.png]