## Slide 1
ICA Thing Model Introduction
An, Qing
ICA Connectivity Alliance
2019.7

## Slide 2
ICA Introduction
2

## Slide 3
ICA Structure
3

## Slide 4
Overview of ICA Standardization
4

## Slide 5
ICA Standard Architecture
5

## Slide 6
ICA Thing Model
Global organizations which provide similar data model
Clear and unified definition of device functions
Standard semantic for IoT device digitalization
Better data interworking between IoT devices
Loose coupling of IoT software and hardware
6

## Slide 7
ICA IoT Thing Model Overview
ICA IoT Thing Model runs on top of the transfer protocol and connectivity protocol
ICA IoT Thing Model can be run on device, gateway, and cloud platform
7

## Slide 8
Definition
Profile:
Static description
Functionality
Property: Run-time status
Service: Action, command
Event: Information, warning and fault
Status:
Online/Offline, Active/Deactive
Status
Profile
Service
Property
Event
Thing Abstract Model
Things Specification Language
(JSON Schema)
{
"properties": [
{
"identifier": "LightSwitch",
"dataType": {
"type": "bool"
}
}
],
"events": [
{
"outputData": [
{
"identifier": "ErrorCode",
"dataType": {
"type": "enum"
}
}
],
"identifier": "Error",
"type": "error"
}
]
}
8

## Slide 9
ICA IoT Thing Model Class Diagram
9
Basic Resource
Resource
Thing Model

## Slide 10
OTA Module
Model Construction Example
Basic Resource
Thing Model
Product based on Thing Model
Resource Module
Tumeout
High temperature
Basic Event
…
Basic Service
volume adjust
Count down
…
Basic Property
Temperature
Color
On/Off
…
Basic Resource Library
Wi-Fi Connectivity Module
Resource Module Library
Basic Property
SNR
RSSI
Channel
BSSID
Band
…
BT Connectivity Module
…
Thing Model: Light
Property
Color
On/Off
Darkness
Event
Fault report
Wi-Fi Connectivity Module
OTA Module
10

## Slide 11
ICA IoT Thing Model Resource Structure
Property
Name | Identifier | Data Type | Range | Accuracy | Unit | R/W | M/O
Light Switch | LightSwitch | Boolean | 0 = Turn off 1 = Turn on | - | - | RW | M
Service
Name | Identifier | Input Parameter | Output Parameter | M/O
Toggle the light switch | ToggleLightSwitch | - | - | O
Event
Name | Identifier | Output Parameter | M/O
Error notification | Error | Name: Error code Identifier: ErrorCode M/O: M Data Type: enum Range: 0~100 Unit: / | M
11

## Slide 12
ICA IoT Thing Model Platform
An online IoT Thing Model Registration Platform
https://www.ica-alliance.org/data#/
Till now, 1000+ Thing Templates, areas include:
Smart Living
Smart City
Smart Manufacturing
Smart Agriculture
Smart Industry Park, etc.
12

## Slide 13
Example: PreciseTimeSpaceCamera
13

## Slide 14
THANK YOU
www.ica-alliance.org